Hugo’s analysis of final quote

Key/Example:

- Room or area where alterations were made (room number in the plans )

- Alterations in reference to the room, regarding specific scope of works

In Bold are points that need update still in Lux’s Quote (now corrected 26th March)

- First floor closet ( room 1.18 in the plans )

- Concrete quantities updated - point 2.8.1

- Also Concrete quantities updated - point 2.10.2 to 2.10.4

- Wall quantities updated - point 4.1

- Stonework updated, price reduction - point 8.3.9

- Wardrobe with updated dimensions - point 12.3.16

- Extended ground floor terrace in front of playroom (room 0.11 )

- Concrete/paving quantities updated - point 3.2

- Cement preparation for floor quantity update - point 11.3

- Exterior stone paving quantity updated - point 11.12

- Waterproofing around basement with drainage (basement )

- membranes and drainage piping - points 5.5 and 5.6

- Roof tiles above entrance covered terrace ( room 0.17 )

- Could not find update on this extra area of roof tiles, even though it was spoken that the skylight that was replaced by this roof would cost similar, however, just the skylight was taken out Now corrected

- Double doors and barbecue to have stonework frames ( room 0.19 )

- updated 3 units - point 8.3.11

- Wood paneling in entrance area ( room 0.01 )

- wood works in chestnut type wood - point 10.19

( I assume the choice of this wood is to allow a mid/high range choice of wood type in a later stage )

- Circulation in front of staff room -1.18 was removed ( Room -1.19 )

- Sliding door seems to still be in quantities, should have 2 units and not 3 units - point Now corrected

12.2.1

- Wall quantities updated - point 4.1

- Painting of wall reduced quantity - point 25.3

- Glass on first floor hall ( room 1.01 ) Now corrected

- Quantities seem correct, however project has written curved laminated glass and the quote reads glass in linear sections - point 15.2.1 Now corrected

- Glass railing in the light well of the basement laundry (room "-1.23" in the plans ), I considered this dangerous and since children will always be there, I thought best to include it already as it would make no sense finding this as an extra in a later stage - point 15.3.2

- Glass railings on first floor terraces ( quantities correctly went from 12ml to 25.24ml ) - point 15.3.1

- LED strips were missing in the 5steps in the entrance hall (room 0.01 )

- This was my mistake as I did fail to put them in the electric plans so it was not shown anywhere. Has been updated - point 16.10.11

- Ventilation for bathrooms and several basement rooms - point 17.2

- Swimming pools, both interior and exterior

- The added value comes from the following:

- No water treatments were present in the Lux’s quote from 22.01.2015

- Separation of kid’s pool from main pool implies quote for additional filtration equipment and water treatment

- Pool cover was not included in initial quote, just concrete deposit for the pool cover roller system

- Water jets have also been included, as per Tor/Andrew/Hugo’s meeting on the 20th March 2015 in Hugo’s office

- Shutters for the exterior terraces included - point 26.9

- Front gates included - points 27.1 to 27.3.2

- Awnings between covered terraces by the swimming pool included - point 26.8

- Landscaping retaining wall reduced to 82m2 - point 5.1 of Exterior Landscaping